## Sheet1
Hydro Inflows
Snowy Scheme: |  | https://www.snowyhydro.com.au/generation/the-snowy-scheme/ |  |  |  |  | Snowy scheme
Comprises of many dams and turbines, some of which are actually located in VIC. | [6 empty] | The Snowy scheme will consider the influence of specific historical reference years. Data used in AEMO's modelling reflects confidential submissions from Snowy Hydro. The data below reflects interpretation of public domain data, and may not match precisely with the confidential data. https://www.snowyhydro.com.au/our-energy/water/inflows/
Reference years for inflows are given in the table on the right. | [6 empty] | Blowering, Eucumbene and Guthega
[7 empty] | Reference Year (FYE) | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Annual Total
The following generators are part of snowy: | [6 empty] | 2011 | 865.6913 | 527.6107 | 566.5134 | 663.1503 | 347.269 | 485.6217 | 380.4839 | 375.3992 | 113.0974 | 371.6624 | 498.06 | 861.1939 | 6055.753 | 4047.4181 | Avg
Name | Type | Capacity (MW) | bus_id | state | % of total capacity |  | 2012 | 682.0511 | 421.4805 | 446.6444 | 504.7129 | 244.1462 | 340.1259 | 300.053 | 294.2977 | 88.4854 | 290.8707 | 391.582 | 677.1747 | 4681.6243 | 1134.455 | Min
TUMUT3 | PS | 1800 | 8 | NSW | 44.36% |  | 2013 | 549.7987 | 331.7523 | 348.0947 | 386.6747 | 181.5982 | 270.4208 | 241.4825 | 239.2594 | 72.1848 | 237.1639 | 316.7908 | 547.7091 | 3722.9299 | 6055.753 | Max
BLOWERNG | Hydro | 80 | 8 | NSW | 1.971% |  | 2014 | 512.9528 | 324.3205 | 357.6385 | 439.9052 | 249.8547 | 317.6532 | 226.0187 | 219.4749 | 65.7618 | 216.2862 | 293.4551 | 507.5974 | 3730.9191
UPPTUMUT | Hydro | 616 | 8 | NSW | 15.18% |  | 2015 | 475.341 | 282.5933 | 295.9449 | 328.7137 | 155.3044 | 238.8956 | 208.5735 | 207.9291 | 62.8622 | 206.47 | 274.4905 | 474.508 | 3211.6263
GUTHEGA | Hydro | 60 | 8 | NSW | 1.479% |  | 2016 | 665.0774 | 393.5352 | 408.6738 | 445.0444 | 201.0191 | 319.1451 | 291.737 | 291.3965 | 88.1532 | 289.5098 | 384.32 | 664.3393 | 4441.9507
MURRAY1 | Hydro | 950 | 9 | VIC | 23.41% |  | 2017 | 670.3907 | 413.2341 | 441.0653 | 507.4711 | 255.5108 | 353.3879 | 294.8726 | 289.53 | 87.0841 | 286.2484 | 385.0355 | 665.8372 | 4649.6679
MURRAY2 | Hydro | 552 | 9 | VIC | 13.6% |  | 2018 | 640.1975 | 383.8116 | 401.0828 | 441.9137 | 204.1451 | 310.8314 | 281.0664 | 279.2292 | 84.3201 | 276.9965 | 369.232 | 638.3369 | 4311.1631
[7 empty] | 2019 | 482.1982 | 289.0877 | 302.0964 | 332.8504 | 153.7625 | 234.1189 | 211.6999 | 210.3161 | 63.5101 | 208.6344 | 278.1063 | 480.7968 | 3247.1776
Can calculate inflows for each plant by multiplying it by the % of total snowy capacity it makes up. | [6 empty] | 2020 | 555.0751 | 332.7789 | 347.7537 | 383.1557 | 177.0014 | 269.5024 | 243.6951 | 242.1022 | 73.1086 | 240.1663 | 320.1379 | 553.4619 | 3737.9392
Inflows are given in monthly granularity, can assume this is spread evenly throughout each day. | [6 empty] | 2021 | 621.0918 | 372.3573 | 389.1131 | 428.7255 | 198.0527 | 301.5551 | 272.6784 | 270.8961 | 81.8037 | 268.73 | 358.2128 | 619.2867 | 4182.5031
Maybe giving the weighted % to TUMUT3 PS isn't accurate as it will get some inflows through pumping? Or could be fine | [6 empty] | 2022 | 818.0328 | 490.4275 | 512.4963 | 564.6694 | 260.8529 | 397.1748 | 359.1416 | 356.7941 | 107.7427 | 353.9412 | 471.798 | 815.6554 | 5508.7265
TBD: | [6 empty] | Dry | 171.4276 | 99.9242 | 103.0243 | 110.6798 | 48.6636 | 81.243 | 75.1234 | 75.4922 | 22.8839 | 75.1319 | 99.2758 | 171.5853 | 1134.455
Shoalhaven pumped hydro NSW - no information on inflows.
My guess is none - since it's just two connected man-made dams. | [7 empty] | 628.1582 | 380.2491 | 401.4264 | 452.2489 | 219.0431 | 319.8694 | 275.9585 | 273.052 | 82.3428 | 270.5567 | 361.7684 | 625.4914
Victoria Schemes:
There are three main dams: Hume, Dartmouth and Eildon. Generators in both VIC and NSW use these dams. | [6 empty] | Queensland and Victoria schemes
Queensland and Victorian schemes will be based on long term historical inflows.
[8 empty] | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Annual Total
The following generators are part of the Victoria scheme: | [6 empty] | Kuranda Weir | 14.3197 | 12.9075 | 8.8271 | 7.4834 | 5.2035 | 18.9282 | 68.2829 | 78.772 | 110.115 | 43.3021 | 20.1034 | 15.2884 | 403.5332 | qld
Name | Type | Capacity (MW) | bus_id | state | % of total capacity | hrs of generation per year (assuming full capacity): | Koombooloomba Dam | 36.3053 | 73.6406 | 63.5406 | 51.2394 | 36.3801 | 45.0598 | 15.7066 | 21.811 | 22.9161 | 16.9442 | 22.6586 | 40.3669 | 446.5693 | qld
DARTM1 | Hydro | 185 | 9 | VIC | 100% | 2273.7255 | Hume | 30.2266 | 33.7233 | 33.7313 | 31.2467 | 21.0069 | 18.0081 | 13.9135 | 15.5105 | 16.0326 | 11.1193 | 15.2299 | 21.8133 | 261.5621 | vic
EILDON1 | Hydro | 135 | 9 | VIC | 100% | 1790.9351 | Dartmouth | 55.6328 | 65.4323 | 66.3045 | 56.378 | 32.6493 | 26.3539 | 16.0168 | 15.8832 | 17.694 | 11.5733 | 22.3146 | 34.4065 | 420.6392 | vic
HUMEV | Hydro | 29 | 9 | VIC | 50% | 4509.692 | Eildon | 42.7076 | 55.5742 | 40.1304 | 27.5012 | 12.1187 | 11.7573 | 3.6585 | 2.8218 | 4.0923 | 4.3094 | 11.1419 | 25.963 | 241.7762 | vic
HUMENSW | Hydro | 29 | 8 | NSW | 50% | 4509.692
MCKAY1 | Hydro | 300.02 | 8 | VIC | 81.52% | 1097.7664
WKIEWA1 | Hydro | 68 | 8 | VIC | 18.48% | 1097.7664 |  | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Annual Total
[7 empty] | DARTM1 | 55.6328 | 65.4323 | 66.3045 | 56.378 | 32.6493 | 26.3539 | 16.0168 | 15.8832 | 17.694 | 11.5733 | 22.3146 | 34.4065 | 420.6392
TBD: | [6 empty] | EILDON1 | 42.7076 | 55.5742 | 40.1304 | 27.5012 | 12.1187 | 11.7573 | 3.6585 | 2.8218 | 4.0923 | 4.3094 | 11.1419 | 25.963 | 241.7762
Bogong, Mckay and West Kiewa are all grouped together in VIC, but no inflow information available from AEMO | [6 empty] | HUMEV | 15.1133 | 16.8617 | 16.8657 | 15.6233 | 10.5035 | 9.0041 | 6.9567 | 7.7552 | 8.0163 | 5.5597 | 7.615 | 10.9066 | 130.7811
Has an annual average energy generation of 404GWh - https://www.agl.com.au/about-agl/how-we-source-energy/hydroelectric-power-stations?zcf97o=vlx3ap | [6 empty] | HUMENSW | 15.1133 | 16.8617 | 16.8657 | 15.6233 | 10.5035 | 9.0041 | 6.9567 | 7.7552 | 8.0163 | 5.5597 | 7.615 | 10.9066 | 130.7811
Can split this by following the trend shape of the hume/dartmouth/eildon inflows but scale for the correct annual output - they all have similar shapes | [6 empty] | MCKAY1 | 45.8277 | 55.1534 | 49.9622 | 41.0366 | 23.4455 | 20.0037 | 11.9727 | 12.1961 | 13.4805 | 9.6249 | 17.3543 | 29.294 | 329.3517
Worth noting that this source has different figures for the annual energy at dartmouth and eildon (both lower than the AEMO inflows) | [6 empty] | WKIEWA1 | 10.3868 | 12.5004 | 11.3239 | 9.3009 | 5.3139 | 4.5338 | 2.7136 | 2.7642 | 3.0553 | 2.1815 | 3.9333 | 6.6394 | 74.6471
The annual output was based on the commissioning date, it may have gone higher since this. I will just use the given amount of 404GWh as there's nothing else to go off | [6 empty] | BARRON-1 | 14.3197 | 12.9075 | 8.8271 | 7.4834 | 5.2035 | 18.9282 | 68.2829 | 78.772 | 110.115 | 43.3021 | 20.1034 | 15.2884 | 403.5332
[7 empty] | KAREEYA1 | 36.3053 | 73.6406 | 63.5406 | 51.2394 | 36.3801 | 45.0598 | 15.7066 | 21.811 | 22.9161 | 16.9442 | 22.6586 | 40.3669 | 446.5693
Queensland Schemes:
The following generators are part of the Victoria scheme:
Name | Type | Capacity (MW) | bus_id | state | associated dam | hrs of generation per year (assuming full capacity):
BARRON-1 | Hydro | 70 | 1 | QLD | Kuranda Weir | 5764.7598
KAREEYA1 | Hydro | 86.4 | 1 | QLD | Koombooloomba Dam | 5168.6265
TBD:
Wivenhoe is the PS in QLD, looks to be a no inflow situation, just a big battery.
Tasmania Schemes:
Can calculate inflows for each plant by multiplying it by the % of total it makes up. | [6 empty] | Tasmania
The Tasmanian schemes will consider the influence of specific historical reference years.
[7 empty] | Reference Year (FYE) | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Annual Total
Name | Type | Capacity (MW) | bus_id | state | % of total capacity |  | 2011 | 982.1065 | 1510.9521 | 1501.2597 | 882.6177 | 778.4281 | 829.4745 | 489.7261 | 308.0929 | 608.5587 | 549.7578 | 501.0767 | 1427.6891 | 10369.7396 | 8981.4144 | Avg
BASTYAN | Hydro | 79.9 | 10 | TAS | 3.671% |  | 2012 | 1450.6199 | 1683.9834 | 1036.807 | 657.0437 | 667.7885 | 287.2054 | 128.7897 | 116.9636 | 404.5966 | 573.5908 | 1122.7235 | 1121.3978 | 9251.5098 | 7116.4843 | Min
LI_WY_CA | Hydro | 176.7 | 10 | TAS | 8.118% |  | 2013 | 971.4607 | 1433.5766 | 1373.6918 | 676.867 | 292.5323 | 241.8663 | 72.5811 | 24.5847 | 321.4089 | 425.5436 | 777.0809 | 505.2903 | 7116.4843 | 11242.6025 | Peak
CETHANA | Hydro | 85 | 10 | TAS | 3.905% |  | 2014 | 1526.377 | 2534.7929 | 1316.2934 | 1673.4488 | 772.0572 | 460.1078 | 314.5188 | 112.8908 | 241.624 | 519.1388 | 927.4249 | 843.928 | 11242.6025
DEVILS_G | Hydro | 60 | 10 | TAS | 2.756% |  | 2015 | 1379.578 | 1103.0548 | 696.0691 | 732.2548 | 447.3389 | 269.2251 | 391.2982 | 61.0887 | 440.5098 | 230.7884 | 1405.987 | 1024.2403 | 8181.433
FISHER | Hydro | 43.2 | 10 | TAS | 1.985% |  | 2016 | 1064.1069 | 1397.3511 | 668.5228 | 171.547 | 203.5751 | 203.9501 | 150.3885 | 141.8676 | 168.0803 | 335.762 | 2049.807 | 2052.6787 | 8607.637
GORDON | Hydro | 432 | 10 | TAS | 19.85% |  | 2017 | 2200.9302 | 1443.3691 | 943.4581 | 1975.9386 | 996.381 | 404.0091 | 190.5817 | 199.9556 | 118.5768 | 271.8703 | 712.9215 | 577.7077 | 10035.6998
JBUTTERS | Hydro | 144 | 10 | TAS | 6.616% |  | 2018 | 1164.959 | 1395.2287 | 1636.4845 | 799.0718 | 283.3647 | 423.063 | 84.6822 | 206.7749 | 531.5248 | 607.4845 | 965.124 | 1075.2177 | 9172.9797
LK_ECHO | Hydro | 32.4 | 10 | TAS | 1.488% |  | 2019 | 2031.9243 | 1754.9172 | 981.7392 | 315.4639 | 506.8569 | 387.0934 | -11.4768 | 205.9508 | 241.2012 | 616.4933 | 944.1092 | 1106.9226 | 9081.1951
LEM_WIL | Hydro | 81.6 | 10 | TAS | 3.749% |  | 2020 | 2287.6441 | 1316.0493 | 853.3929 | 396.2097 | 854.4045 | 660.0899 | 180.6144 | 176.603 | 462.1835 | 1124.2055 | 1002.6674 | 910.0462 | 10224.1103
MACKNTSH | Hydro | 79.9 | 10 | TAS | 3.671% |  | 2021 | 768.0263 | 946.3277 | 920.8134 | 1160.4513 | 202.8511 | 378.7451 | 148.2794 | 409.7633 | 372.3785 | 685.8274 | 783.8579 | 950.9284 | 7728.2498
MEADOWBK | Hydro | 40 | 10 | TAS | 1.838% |  | 2022 | 1582.9637 | 1782.3094 | 1288.8603 | 1346.404 | 690.6256 | 136.5791 | 161.5962 | 24.7728 | 140.0135 | 228.9922 | 893.3144 | 1163.3894 | 9439.8208
POAT110 | Hydro | 300 | 10 | TAS | 13.78% |  | Dry | 987.6401 | 832.6914 | 998.7018 | 605.5409 | 237.8379 | 156.9579 | 259.5781 | 27.7256 | 167.7432 | 138.034 | 1356.8306 | 537.6442 | 6306.9259
REECE1 | Hydro | 231.2 | 10 | TAS | 10.62%
TARRALEA | Hydro | 90 | 10 | TAS | 4.135%
TREVALLN | Hydro | 93 | 10 | TAS | 4.273% |  |  | 1450.8914 | 1525.1594 | 1101.4493 | 898.9432 | 558.017 | 390.1174 | 191.7983 | 165.7757 | 337.5547 | 514.1212 | 1007.1745 | 1063.2864
TRIBUTE | Hydro | 82.8 | 10 | TAS | 3.804%
TUNGATIN | Hydro | 125 | 10 | TAS | 5.743%